VOCATIONAL  EDUCATION  AND TRAINING AUTHORITY

COURSE CONTENT FOR ELECTRICAL INSTALLATION

LEVEL 1, II & III

LEVEL 1

| S/NO | MODULE | UNIT | ELEMENT |
| --- | --- | --- | --- |
| 01 | Maintaining of W/Shop tools, equipment and Environment | 1.Handling workshop safety | Maintaining workshop safety rules Maintaining personal safety |
|  |  | 2.Handling workshop tools | Classifying tools Maintaining workshop tools |
|  |  | 3.Handling workshop equipment | Classifying equipment Maintaining workshop equipment |
|  |  | 4.Handling accidents and incidents | Classifying accidents. Identifying hazards Investigating accidents |
|  |  | 5.Handlling fire accidents | Performing fire classification. Performing fire fighting Performing fire protection |
|  |  | 6.Perfomring First Aid | Maintaining first Aid Performing Artificial respiration. Performing first Aid to minor Injuries |
|  |  | 7. Maintaining Buildings | Arranging fittings and fixtures in Buildings Performing interior and exterior cleanliness |
|  |  | 8. Maintaining safe working environment | Maintaining safety workshop Drawing safety signs Handling waste |

| 02 | Module 2. Performing bench work | 1.Performing cutting | Cutting flat bars Cutting round bars Cutting flat metal sheet |
| --- | --- | --- | --- |
|  |  | 2.Performing filling | Filing flat materials Filling corner materials Filling round materials |
|  |  | 3.Performing Drilling | Carry out drilling Carry out reaming |
| 3 | Performing simple electric circuits | 4.Cosntructing capacitive circuits | 1. Building single 2. Building series circuit 3.Building parallel circuits 4. Building combination circuit |
|  |  | 5.Constructing Inductive circuits | 1. Building single inductive 2. Building series circuit 3. Building parall circuits 4. Building combination circuits 5. Testing inductive circuits |
|  |  | 6.Constructing RLC Circuit | Building/Circuit a resistance and capacitive circuit |
|  |  |  | Building a resistance and In durance circuit |
|  |  |  | Building resistive capacitive circuit |
|  |  | 7.Measuring Electrical Quantities | Measuring voltage in a circuit Measuring current in act Measuring resitance in the circuit |

| S/NO | MODULE | UNIT | ELEMENT |
| --- | --- | --- | --- |
| 4 | Module 4. Building simple Electronic ects | 1. Determining characteristic of active, electronic circuits | Testing characteristics of diodes. Testing characteristics of transistors Testing characteristic of thyvistors |
|  |  | 2. Constructing rectifier circuits | Building half – wane rectifier circuit. Building full-wave rectifier (centre – tapped). Building bridge rectifier. Building smoothing circuits. 5. Testing rectifier circuits. |
| 5 | Module 5 Drafting and operatinalizing wiring circuits | 1.Installing Lighting circuits | Installing lighting circuit using one-way switching Installing lighting circuit controlled by two way switch Installing lighting circuit controlled by two-way switches and intermediate switch |
|  |  | 2.Installing power circuits | Installing radial power circuit Installing ring circuit and spur Installing elective cooker cct Installing electric water neater |

COURSE CONTENT FOR ELECTRICAL INSTALLATION

LEVEL II

| NO | MODULE | UNIT | ELEMENT |
| --- | --- | --- | --- |
| 1 | CONSTRUCTING WIRING ENCLOSURES | 1. Erecting conduits | 1. Installing PVC conduits 2. installing metallic conduits 3. Installing flexible conduits |
|  |  | 2. Erecting trunking | 1. Installing PVC (plastic) trunking 2. Installing metallic trunking |
|  |  | 3. Erecting ducting | 1. installing metal ducting 2. Installing underfloor ducting 3. Installing cable trays |
| 2. | INSTALLING SWITCH GEARS AND PROTECTIVE SYSTEMS | 1. installing circuit breakers | 1. Installing ELCBs 2. Installing RCDs |
|  |  | 2. Installing fuses | 1. Install rewirable fuses 2.install cartridge fuses Install high breaking capacity (HBC) fuses |
|  |  | 3. Installing isolators | 1. Installing three phase isolators 2. Installing single phase isolators |
|  |  | 4. Installing change-over switches | 1. install manually operated change over-switch 2. Install automatic change –over switch |
| 3. | PERFORM ELECTRICAL MAINTENANCE | 1.Carry out preventive electrical maintenance | 1. Prepare tools and equipment for carrying out preventive maintenance 2. Conduct electrical preventive maintenance |
|  |  | 2. Carry out electrical replacement | 1. prepare tool& equipment for performing electrical replacement |

COURSE CONTENT FOR ELECTRICAL INSTALLATION

LEVEL III

| No | MODULE | UNIT | ELEMENT |
| --- | --- | --- | --- |
| 1 | MODULE 1: INSTALLING ELECTRICAL MACHINES | 1. INSTALLING A.C MACHINES | 1. Installing transformers 2. Installing induction motors 3. Installing synchronous motors 4. Installing generators |
|  |  | 2. INSTALLING CONTROL OF A.C MACHINES | 1. Installing Direct-on-line (DOL) starter incorporating remote control 2. Installing DOL starter (by using jogging method) 3. installing forward /reverse starter 4. Installing manual start-delta starter 5. Installing automatic star-delta starter 6. Installing a rotor resistance starter for slip-ring motor 7. Installing an automatic starter for three phase motor |
|  |  | 3. INSTALLING ELECTRONIC SOFT STARTER | 1. Carry-out installation of thyristor circuits 2.Carry-out installation of trail circuits 3. Carry-out installation of programmable logic control (PLC) circuits |
|  |  | 4. INSTALLING D.C MACHINES | 1. Installing D.C generators 2. Installing D.C. motors |
|  |  | 5. INSTALLING CONTROL OF D.C MACHINES | 1. Installing diverter in the armature 2. Installing varistor in the field winding 3. Starting a D.C. machine by using auto-transformer starter |
| 2. | MODULE 2: MANAGING RESOURCES | 1. ESTABLISHING TOOLS, EQUIPMENT AND MATERIALS PROFILE | 1Preparing database of tools, equipment and materials |
|  |  | 2. PLANNING FOR MAINTENANCE | 1. Planning machine maintenance program 2. Planning buildings program 3. Organizing human resources requirements 4. Controlling maintenance functions |
|  |  | 3. ESTIMATING MATERIALS AND LABOUR COSTS | 1. Preparing electrical installation drawings 2. Carrying out the electrical estimates |
|  |  | 4. PREPARING A SMALL TENDER DOCUMENT | 1. Producing report of installation 2. Producing bill of quantities |
|  |  | 5. TRAINING SUB-ORDINATES ON THE JOB | 1. Prepare report and training needs for others 2. Implementing prepared training programme |
|  |  | 6. SUPERVISING SUB-ORDINATES | 1. Preparing motivation scheme 2. Preparing and organizing work schedule 3. Assessing work performance |